Accreditation policy

- Purpose

This document describes the accreditation policy of General Directorate of Accreditation (DPA) including the

- accreditation criteria,

- accreditation of opinions and interpretations

- subcontracting assessment.

- References

S SH EN ISO/IEC 17011:2017 “Requirements for accreditation bodies accrediting conformity assessment bodies”, clause 7.1, 4.6.1 and 6.4.

EA 1/06 A+AB (rev 10): 2022- EA Multilateral Agreement. Criteria for signing. Policy and procedures for development.

- Accreditation criteria

DPA offers accreditation of the following conformity assessment bodies:

- testing laboratories

- calibration laboratories

- medical laboratories

- inspection bodies

- certification bodies of management systems of

- quality management systems

- food safety management systems

- medical devices quality management system

- business continuity management system

- occupational health and safety management systems

- information technology management systems

- environmental management system

- energy management system

- information security management systems (including information security for cloud services)

- information security for privacy

- anti-bribery management system

- road Traffic Safety management system

- security management systems for the supply chain

- event sustainability management systems

- product certification bodies

- certification bodies of persons

- proficiency test providers (PTP)

- reference material producers (RMP).

- validation and verification

- biobanking

The accreditation criteria used for assessment of conformity assessment bodies are:

| No | Type of CAB | Accreditation standard | EA/ILAC/IAF Document | DPA Document |
| --- | --- | --- | --- | --- |
| 1 | Testing laboratories | S SH ISO/IEC 17025:2017 | ILAC P 8:11/2023; ILAC P 9:01/2024; ILAC P 10:07/2020; ILAC G 8:09/2019; ILAC G17:01/2021; ILAC G18:01/2024; ILAC G 19:06/2022; ILAC G 24:2022; ILAC G 29:06/2020; EA 2/13:2019; EA 3/01:2024; ILAC R 7:05/2015; ILAC G 21:09/2012; EA 2/21 G:2022; EA-4/09:2022; EA-4/22:2018; EA 4/18:2021 | DA-PO-004 DA-PO-005 DA-PO-007 DA-PO-008 DA-PO-012 DA-PO-015 DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-IN-010 DA-IN-011 DA-IN-005 |
| 2 | Calibration laboratories | S SH ISO/IEC 17025:2017 | EA-4/02:2022; ILAC P14:09/2020; ILAC P 10:07/2020; ILAC P 8:11/2023; ILAC P 9:01/2024; EA 3/01:2024; EA 2/13:2019; ILAC R 7:05/2015; ILAC G 24:2022; ILAC G 21:09/2012; EA 2/21 G:2022 EA 4/18:2021 | DA-PO-005 DA-PO-004 DA-PO-007 DA-PO-008 DA-PO-012 DA-PO-015 DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-IN-010 DA-IN-011 DA-IN-005 |
| 3 | Medical laboratories | S SH ISO 15189:2012 S SH ISO 15189:2022 | EA 4/17:2022; EA 4/20:2021; ILAC G 26:11/2018; ILAC P 8:11/2023; ILAC P 10:07/2020; ILAC P 9:01/2024; EA 3/01:2024; EA 2/13:2019; ILAC R 7:05/2015; ILAC G 21:2012; EA 4/18:2021; EA 2/21 G:2022 | DA-PO-005 DA-PO-004 DA-PO-007 DA-PO-008 DA-PO-015 DA-PO-012 DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-IN-010 DA-IN-011 DA-IN-005 DA-IN-001 DA-IN-025 |
| 4 | Inspection bodies | S SH ISO /IEC17020:2012 | ILAC P 15:05/2020, ILAC P 10:07/2020, ILAC G19:06/2022, ILAC G 27:07/2019, ILAC G 28:07/2018, EA 3/01:2024, ILAC P 8:11/2023 ILAC P 9:01/2024 EA 2/13:2019, ILAC R 7:05/2015 ILAC G 21:09/2012 EA 2/21 G:2022 EA 4/18:2021. | DA-PO-005 DA-PO-004 DA-PO-007 DA-PO-008 DA-PO-015 DA-PO-012 DA-PT-001 DA-PT-002 DA-PT-006 DA-PO-018 DA-PM-011 DA-IN-010 DA-IN-011 DA-IN-005 |
| 5 | Certification bodies of quality management system | S SH ISO/IEC 17021-1:2015 and S SH ISO/IEC TS 17021-3:2017 S SH ISO/TS 23406:2020 ISO/IEC TS 17021-15:2023 | IAF MD 1:2023 IAF MD 2:2023 IAF MD 4:2024 IAF MD 5:2023 IAF MD 7:2023 IAF MD 11:2023 IAF MD 12:2023 IAF MD 15:2023, IAF MD 17:2023 IAF MD 23:2023 IAF MD 28:2023 EA 3/01:2024 EA 2/13:2019 IAF ML 2:2023 IAF PL 9:2023 EA 2/21 G :2022 | DA-PO-005 DA-PO-004 DA-PO-015 DA-PO-012 DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-IN-010 DA-IN-009 DA-IN-005 |
| 6 | Certification bodies of food safety management system | S SH ISO/IEC 17021-1:2015, and S SH ISO/TS 22003:2013 S SH ISO 22003-1:2022 | IAF MD 1:2023 IAF MD 2:2023 IAF MD 4:2023 IAF MD 7:2023 IAF MD 11:2023 IAF MD 12:2023 IAF MD 15:2023, IAF MD 16:2023 IAF MD 23:2023 IAF MD 27:2023 IAF MD 28:2023 EA 2/13:2019 EA 3/01:2024 IAF ML 2:2023 IAF PL 9:2023 EA 2/21 G :2022 | DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-PO-005 DA-PO-004 DA-IN-009 DA-IN-010 DA-IN-005 DA-IN-030 |
| 7 | Certification bodies of quality management system for medical devices | S SH ISO/IEC 17021-1:2015 | IAF MD 1:2023 IAF MD 2:2023 IAF MD 4:2023 IAF MD 7:2023 IAF MD 8:2023 IAF MD 9:2023 IAF MD 11:2023 IAF MD 12:2023 IAF MD 15:2023 IAF MD 23:2023 IAF MD 28:2023 EA 2/13:2019 EA 3/01:2024 IAF ML 2:2023 IAF PL 9:2023 EA 2/21 G :2022 | DA-PO-005 DA-PO-004 DA-PO-015 DA-PO-012 DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-IN-009 DA-IN-010 DA-IN-005 |
| 8 | - Certification bodies of business continuity management systems | # S SH ISO/IEC 17021-1:2015 and ISO/IEC TS 17021-6:2014 | IAF MD 1:2023 IAF MD 2:2023 IAF MD 4:2023 IAF MD 7:2023 IAF MD 11:2023 IAF MD 12:2023 IAF MD 15:2023 IAF MD 23:2023 IAF MD 28:2023 EA 3/01:2024 EA 2/13:2019 IAF ML 2:2023 IAF PL 9:2023 EA 2/21 G :2022 | DA-PO-005 DA-PO-004 DA-PO-015 DA-PO-012 DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-IN-009 DA-IN-010 DA-IN-005 |
| 9 | Certification bodies of occupational health and safety management systems | ISO/IEC 17021-1:2015 and ISO/IEC TS 17021-10:2018 | IAF MD 1:2023 IAF MD 2:2023 IAF MD 4:2023 IAF MD 5:2023 IAF MD 7:2023 IAF MD 11:2023 IAF MD 12:2023 IAF MD 15:2023 IAF MD 17:2023 IAF MD 23:2023 IAF MD 22:2023 IAF MD 28:2023 EA 3/01:2024 EA 2/13:2019 IAF ML 2:2023 IAF PL 9:2023 EA 2/21 G :2022 | DA-PO-005 DA-PO-004 DA-PO-015 DA-PO-012 DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-IN-009 DA-IN-010 DA-IN-005 |
| 10 | Certification bodies for information technology management systems | S SH ISO/IEC 17021-1:2015 and ISO/IEC 20000-6:2017 | IAF MD 1:2023 IAF MD 2:2023 IAF MD 4:2023 IAF MD 7:2023 IAF MD 11:2023 IAF MD 12:2023 IAF MD 15:2023 IAF MD 23:2023 IAF MD 28:2023 EA 3/01:2024 EA 2/13:2019 IAF ML 2:2023 IAF PL 9:2023 EA 2/21 G :2022 | DA-PO-005 DA-PO-004 DA-PO-015 DA-PO-012 DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-IN-009 DA-IN-010 DA-IN-005 |
| 11 | Certification bodies for environmental management systems | S SH ISO/IEC 17021-1:2015, and ISO/IEC 17021-2:2016 | IAF MD 1:2023 IAF MD 2:2023 IAF MD 4:2023 IAF MD 5:2023 IAF MD 6:2023 IAF MD 7:2023 IAF MD 11:2023 IAF MD 12:2023 IAF MD 15:2023 IAF MD 17:2023 IAF MD 23:2023 IAF MD 28:2023 EA 3/01:2024 EA 2/13:2019 IAF ML 2:2023 IAF PL 9:2023 EA 2/21 G :2022 | DA-PO-005 DA-PO-004 DA-PO-015 DA-PO-012 DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-IN-009 DA-IN-010 DA-IN-005 |
| 12 | Certification bodies for energy management systems | S SH ISO/IEC 17021-1:2015 dhe S S H ISO 50003:2021 | IAF MD 1:2023 IAF MD 2:2023 IAF MD 4:2023 IAF MD 7:2023 IAF MD 11:2023 IAF MD 12:2023 IAF MD 15:2023 IAF MD 23:2023 IAF MD 28:2023 EA 3/01:2024 EA 2/13:2019 IAF ML 2:2023 IAF PL 9:2023 EA 2/21 G :2022 | DA-PO-005 DA-PO-004 DA-PO-015 DA-PO-012 DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-IN-009 DA-IN-010 DA-IN-005 |
| 13 | Certification bodies of information security systems (including the information security in cloud services) | S SH ISO/IEC 17021-1:2015 dhe ISO/IEC 27006:2015/Amd1:2020 S SH ISO/IEC 27006-1:2024 ISO/IEC TS 27006-2:2021, | IAF MD 1:2023 IAF MD 2:2023 IAF MD 4:2023 IAF MD 7:2023 IAF MD 11:2023 IAF MD 12:2023 IAF MD 13:2023 IAF MD 15:2023 IAF MD 23:2023 IAF MD 26:2023 EA 3/01:2024 EA 2/13:2019 IAF ML 2:2023 IAF PL 9:2023 IAF MD 28:2023 EA 2/21 G :2022 IAF MD 29:2024 | DA-PO-005 DA-PO-004 DA-PO-015 DA-PO-012 DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-IN-009 DA-IN-010 DA-IN-014 DA-IN-005 DA-IN-024 DA-IN-027 |
| 14 | Certification bodies of information security systems for privacy | S SH ISO/IEC 17021-1:2015 ISO/IEC 27006:2015/Amd1:2020 S SH ISO/IEC 27006-1:2024 ISO/IEC TS 27006-2:2021 | IAF MD 1:2023 IAF MD 2:2023 IAF MD 4:2023 IAF MD 7:2023 IAF MD 11:2023 IAF MD 12:2023 IAF MD 13:2023 IAF MD 15:2023 IAF MD 23:2023 IAF MD 26:2023 IAF MD 28:2023 EA 3/01:2024 EA 2/13:2019 IAF ML 2:2023 IAF PL 9:2023 EA 2/21 G :2022 IAF MD 29:2024 | DA-PO-005 DA-PO-004 DA-PO-015 DA-PO-012 DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-IN-009 DA-IN-010 DA-IN-014 DA-IN-005 DA-IN-024 DA-IN-026 |
| 15 | Certification bodies of anti- bribery management systems | S SH ISO/IEC 17021-1:2015 and ISO/IEC TS 17021-9:2016 | IAF MD 1:2023 IAF MD 2:2023 IAF MD 4:2023 IAF MD 7:2023 IAF MD 11:2023 IAF MD 12:2023 IAF MD 15:2023 IAF MD 23:2023 IAF MD 28:2023 EA 3/01:2024 EA 2/13:2019 IAF ML 2:2023 IAF PL 9:2023 EA 2/21 G :2022 | DA-PO-005 DA-PO-004 DA-PO-015 DA-PO-012 DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-IN-009 DA-IN-010 DA-IN-005 |
| 16 | Certification bodies of road traffic safety of management systems | S SH ISO/IEC 17021-1:2015 and ISO/IEC TS 17021-7:2014 | IAF MD 1:2023 IAF MD 2:2023 IAF MD 4:2023 IAF MD 7:2023 IAF MD 11:2023 IAF MD 12:2023 IAF MD 15:2023 IAF MD 23:2023 IAF MD 28:2023 EA 3/01:2024 EA 2/13:2019 IAF ML 2:2023 IAF PL 9:2023 EA 2/21 G :2022 | DA-PO-005 DA-PO-004 DA-PO-015 DA-PO-012 DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-IN-009 DA-IN-010 DA-IN-005 |
| 17 | Certification bodies of security management systems for the supply chain | S SH ISO/IEC 17021-1:2015 and S SH ISO 28003:2007 | IAF MD 1:2023 IAF MD 2:2023 IAF MD 4:2023 IAF MD 7:2023 IAF MD 11:2023 IAF MD 12:2023 IAF MD 15:2023 IAF MD 23:2023 IAF MD 28:2023 EA 3/01:2024 EA 2/13:2019 IAF ML 2:2023 IAF PL 9:2023 EA 2/21 G:2022 | DA-PO-005 DA-PO-004 DA-PO-015 DA-PO-012 DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-IN-009 DA-IN-010 DA-IN-005 DA-IN-029 |
| 18 | Certification bodies of event sustainability management systems | S SH ISO/IEC 17021-1:2015 and ISO 17021-4: 2013 | IAF MD 1:2023 IAF MD 2:2023 IAF MD 4:2023 IAF MD 7:2023 IAF MD 11:2023 IAF MD 12:2023 IAF MD 15:2023 IAF MD 23:2023 IAF MD 28:2023 EA 3/01:2024 EA 2/13:2019 IAF ML 2:2023 IAF PL 9:2023 EA 2/21 G :2022 | DA-PO-005 DA-PO-004 DA-PO-015 DA-PO-012 DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-IN-009 DA-IN-010 DA-IN-005 DA-IN-028 |
| 19 | Product certification bodies | S SH ISO/IEC 17065:2012 | EA 6/02:2023 EA 3/12:2022 EA 3/01:2024 EA 2/13:2019 IAF PL 8:2016 IAF ML 2:2023 IAF PL 9:2023 IAF MD 7:2023 IAF MD 25:2023 IAF MD 28:2023 EA 2/21 G :2022 EA 1/22 A-AB:2023 | DA-PO-005 DA-PO-004 DA_PO-015 DA-PO-012 DA-PO-008 DA-PO-007 DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-PM-008 DA-IN-005 DA-IN-010 DA-IN-011 |
| 20 | Persons certification bodies | S SH ISO/IEC 17024:2012 | EA 3/01:2024 EA 2/13:2019 IAF PL 8:2016 IAF ML 2:2023 IAF PL 9:2023 IAF MD 7:2023 IAF MD 28:2023 IAF MD 25:2023 EA 2/21 G :2022 EA 1/22 A-AB:2023 | DA-PO-005 DA-PO-004 DA-PO-015 DA-PO-012 DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-PM-008 DA-IN-005 DA-IN-010 DA-IN-019 |
| 21 | Proficiency testing providers (PTP) | S SH ISO/IEC 17043:2023 | EA 3/01:2024, EA 2/13:2019 ILAC P 8:11/2023 ILAC P 10:07/2020 ILAC P 9:01/2024 EA 2/21 G :2022 | DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-PO-005 DA-PO-004 DA-IN-010 DA-IN 011 DA-IN-005 |
| 22 | Reference materials producers (RMP). | S SH ISO 17034:2016 | EA 3/01:2024 EA 2/13:2019 IAF MD 7:2023 ILAC P 8:11/2023 ILAC P 10:07/2020 ILAC P 9:01/2024 EA 2/21 G :2022 | DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-PO-005 DA-PO-004 DA-IN-010 DA-IN 011 DA-IN-005 |
| 23 | Validation and verification | S SH EN ISO/IEC 17029:2019 | EA 3/01:2024 IAF MD 6:2023 IAF MD 7:2023 IAF MD 14:2023 EA-6/03 M:2022 EA 2/21 G :2022 IAF MD 28:2023 | DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-PO-005 DA-PO-004 DA-IN-005 DA-IN-010 |
| 24 | Biobanking | S SH EN ISO 20387:2018 | EA 3/01:2024 EA 2/13:2019 ILAC P 8:11/2023 ILAC P 10:07/2020 ILAC P 9:01/2024 EA 2/21 G :2022 | DA-PT-001 DA-PT-002 DA-PT-006 DA-PM-011 DA-PO-005 DA-PO-004 DA-IN-010 DA-IN 011 DA-IN-005 |

- Accreditation of opinions and interpretations

DPA performs accreditation of opinions and interpretations or extension of accreditation for opinions and interpretations according to ISO/IEC 17025 but not as a separate activity, only when the testing laboratory provides the relating testing. It is the responsibility of the laboratory (its own policy), whether to make interpretations of the test results and shall be stated in the documentation of its management system.

Accreditation of opinions and interpretations shall be clearly indicated in the laboratory’s scope of accreditation.

If the laboratory seeks accreditation for opinions and interpretations, it shall submit to DPA all the documentation related to opinions and interpretations as well as any other document required for accreditation. The assessment on opinions and interpretations carried out by the technical assessor(s) is a part of the assessment plan.

The laboratory is required to have a procedure for the description of the whole process of expressing opinions and interpretations, including the test report or calibration certificate. Such decision of the laboratory must be stated in the documentation of its management system.

DPA requests the laboratory to determine the criteria to which the authorized person(s) must comply in order to express interpretation and opinions.  The laboratory must have records of qualifications, experience, training and authorization.

The customers of the accredited laboratory may require the inclusion of the opinions and interpretations in the testing report which bear the accreditation symbol. In accordance to the paragraph 8.7.8 of standard S SH ISO / IEC 17025:2017 the laboratory may include the opinions and interpretations in the testing report provided that:

- The laboratory has been accredited to provide opinions and interpretations requested by the customer.

- The opinion and interpretation were based in the results deriving from the analysis from which the laboratory has been accredited with the method for which he was accredited.

If the laboratory is not accredited for providing opinions and interpretations, they must be released in a separate report and not together with the results obtained from the analysis for which the lab is accredited.

5. Subcontracting of assessments

DPA can subcontract other national accreditation bodies, being EA MLA, ILAC MRA or IAF MLA signatory for the respective field EA MLA, for the assessment of CABs, but not the decision-making process. DPA cannot subcontract the assessment without the approval of CAB. DPA has full responsibility over the subcontracted work and is responsible on accreditation decision which includes issuing, maintenance, extension, reduction, suspension and withdrawal of accreditation. The subcontracting of assessment must be documented through an agreement between DPA and the subcontractor which covers all the regulations including the confidentiality and conflict of interests. DPA is responsible for the competence of the subcontracted body and the fulfillment of the requirements about the assessment to be performed. The subcontractor cannot not be directly or indirectly involved in the assessment which affect its impartiality and its independence. DPA implements the relevant procedure for defining the criteria for subcontractor.

Date: 05.02.2025                                    			            General Director

Pranvera Fagu